# STARBUCKS LETTER OF INTENT

[Date]

<Insert Name>

<Insert Address>

RE:

Dear <Insert Name>:

We are pleased to present to you this letter (“Letter of Intent”) which sets forth the terms on which Starbucks Corporation (“Starbucks” or “Tenant”) is willing to negotiate a lease for the premises located at _________________ [INSERT POSTAL ADDRESS OF CENTER AND SPACE NUMBER] (the “Premises”) in the Building known as __________________ [INSERT NAME] (the “Building”).  This Letter of Intent is not intended to be a binding contract (except as expressly stated herein in the Confidentiality provision), a lease or an offer to lease, but is intended only to provide the basis for negotiations for a lease document (the “Lease”) between _____________________ [INSERT NAME] (“Landlord”) Landlord hereby agrees and covenants that its entity name, or any derivative thereof, used during the term of the Lease will not contain any proprietary information, trademarks, trade names, service marks, or other intellectual property belonging to the Tenant, without the express written consent of the Tenant.  For the purposes of this clause, "proprietary information" shall include, but is not limited to, the Tenant’s trade secrets, business names, ticker symbols, brand identities, trademarks, logos, service marks, company names, or any other intellectual property or proprietary assets owned or used by the Tenant under any circumstances. As tenants in common, Landlord agrees that the tenants in common will be jointly and severally liable. Landlord will appoint one party, ______, to be the single point of contact on behalf of Landlord and Starbucks as Tenant.

PREMISES:	Approximately 1,933 square feet of single-tenant pad retail space measuring [INSERT DIMENSIONS] as shown on the attached site plan.  Premises means the interior space of the Premises as measured, and shall not include the drive-through area, any outdoor seating area, common areas or any other areas exterior to the Premises.  Landlord will provide Tenant with the legal description of the land upon which the Building is located (the ”Property”). Landlord will obtain its permit for the site plan, including Landlord’s plans for configuration and operation of the Premises, Building, drive-through facility, and parking area prior to __________ or an alternate date to be determined prior to Lease execution and Tenant will have the right to approve Landlord’s site plan prior to Landlord’s submission of the site plan for permitting.  If Landlord makes any material changes to the site plan after Tenant approves, Tenant will have the right to re-approve the site plan prior to Landlord commencing construction.  If Tenant approves the changes, Landlord shall reimburse Tenant for the actual costs to redraw its plans to correspond with Landlord’s changes.  If Tenant does not approve, Tenant may terminate the Lease upon written notice. Landlord shall complete the attached Exhibit S – Schedule of Critical Dates prior to LOI execution.  Landlord shall provide all senior documents (REAs, title documents, restrictions, etc) on the attached Exhibit R.

Landlord will complete {replat/boundary line adjustment/subdivision] for the Property prior to _________ or an alternate date to be determined prior to Lease execution..

Tenant will have the right to configure the Premises and, if necessary, the parking area, to provide drive-through service for its customers in accordance with all codes and regulations.

LANDLORD PROPERTY INTEREST:

LEASE:  Starbucks standard lease

TERM:  Ten (10) years plus six (6) consecutive five (5)-year unconditional options to extend the term.  If the last day of the first Lease Year falls between September 1 and January 31, then the first Lease Year shall be extended to end on the last day in February and each subsequent Lease Year shall begin on March 1.  To exercise an extension option, Tenant shall give Landlord notice at least ninety (90) days prior to the then-current expiration date.  Tenant may exercise more than one option at a time.

RENT:	 The rent schedule below is inclusive of all charges other than taxes, insurance and common area maintenance expenses and Tenant will not pay any other charges to Landlord except those described in this letter.

Years		Monthly		Yearly

1-5		$			$

6-10		$			$

Extension Options:

11-15              	$                     		$

16-20             	$                     		$

21-25             	$                     		$

26-30             	$                      		$

PERCENTAGE RENT:  None.

RENT COMMENCEMENT:	Tenant will not commence payment of rent (nor charges for common area maintenance, taxes or insurance) until the date that is one hundred twenty (120) days following the earlier of: (a) the date Tenant opens for business at the Premises, or (b) one hundred eighty (180) days after the later of the date: (i) Tenant accepts possession of the Premises with Landlord’s Work (defined by the attached Landlord workletter, and including any permits Landlord is responsible to obtain) complete and a mutually executed possession letter, and (ii) Tenant receives all permits, variances and governmental approvals necessary to construct and operate Tenant's store in the Premises, provided however that notwithstanding the satisfaction of the conditions set forth in the foregoing clause (b)(i) and (ii), the foregoing one hundred eighty (180) day period will be extended on a day-for-day basis for each day that Tenant’s construction of Tenant’s Initial Improvements is delayed due to the occurrence of a Force Majeure event.

### USE:	 Any lawful retail or restaurant use, including the sale of beer and wine.

EXCLUSIVE USE:  Landlord will not sell or permit any party, other than Tenant, to sell on the [Property/Shopping Center]: (a) whole or ground coffee beans, (b) espresso, espresso-based drinks or coffee-based drinks, (c) tea or tea-based drinks, (d) brewed coffee, and/or (e) blended beverages.  Landlord shall not lease to any other tenant nor use or allow any other person or entity to use any portion of the [Property/Shopping Center] for or in support of any of the uses or activities described on Exhibit N.

In the event of a violation of Tenant’s exclusive use or use identified on Exhibit N, all rent due under the Lease shall be reduced by fifty percent (50%) until the violation has been cured and the competing tenant(s) at the Property cease the sale of any of the products protected by Tenant’s exclusive use described above or the use identified on Exhibit N has ceased operation.  In the event that the violation continues for more than 90 days, Tenant shall have the right to terminate the Lease, and shall be entitled to reimbursement by Landlord of the unamortized amount of Tenant’s improvements to the Premises as of the effective date of the early termination of the Lease.

EARLY TERMINATION:	Intentionally Deleted

CONTINUOUS OPERATION: None.

SCHEDULED DELIVERY DATE:  Landlord will deliver possession of the Premises (with Landlord’s Work complete pursuant to Landlord Workletter, attached) to Tenant on __________.

DELIVERY DATE DELAYS:	  In the event that Landlord fails to deliver the Premises with Landlord’s Work complete within fourteen (14) days after the Scheduled Delivery Date, in addition to any rights and remedies in the Landlord Workletter, Tenant will be entitled to five (5) days of free rent for each day of delay accruing from the Scheduled Delivery Date until the day Landlord delivers possession of the Premises to Tenant with all Landlord’s Work completed in accordance with the Lease and Landlord shall deliver payment to Tenant within twenty (20) days of Landlord’s receipt of Tenant’s written request.  If Landlord fails to deliver possession of the Premises with Landlord’s Work complete within thirty (30) days of the Scheduled Delivery Date, Tenant may terminate the Lease, whereupon Landlord will pay Tenant an amount equal to the accrued free rent and Landlord will reimburse Tenant for all of Tenant’s expenses incurred in connection with the Lease, including, without limitation, site selection, design and lease negotiation costs and expenses, including the allocated cost of in-house personnel.

LANDLORD CONTRIBUTION AND WORK:  Prior to delivering the Premises to Tenant, Landlord will, at its expense, perform the work described on the attached Landlord Workletter.    Landlord will also provide Tenant an improvement allowance of $__________ toward the cost of Tenant’s improvements (the "Allowance").  Landlord will pay Tenant the Allowance upon its store opening.  If Landlord fails to pay Tenant the Allowance within thirty (30) days of Tenant’s written request for payment of the Allowance, Tenant shall have the right to offset the Allowance against all rent otherwise due under the Lease until the Allowance has been recovered.  In addition to Tenant’s right of offset, such unpaid amounts shall bear interest at the rate which is the greater of twelve percent (12%) per annum or the prime interest rate charged by Wells Fargo Bank plus three percentage points (but in no event to exceed the maximum lawful rate) per annum from the date the unpaid amount was initially due, to and including the date of full payment by Landlord or full recovery by Tenant, as the case may be.

Landlord’s Work will also include obtaining all permits and/or government approvals for the construction and operation of Tenant’s drive-through facility as described on Exhibit ___.

Landlord will provide Tenant a copy of Landlord’s construction schedule detailing Landlord’s Work in accordance with the attached Landlord Workletter on the earlier of 1) ninety (90) days prior to the Scheduled Delivery Date or 2) the date Landlord begins construction activities at the site.  The Landscape Planting Lists and Landscape Functional Guidelines documents are provided on the attached Exhibit L.  Landlord will provide the design elements specified on Exhibit G within 30 days of LOI execution.

CONSTRUCTION CONTINGENCY:  Tenant will not be obligated to pay rent, common area maintenance charges, or any other charges, nor operate for business in the Premises, until construction of all common areas and parking areas is complete (including removal of construction equipment and debris and any remaining Landlord construction items which prevent Tenant from obtaining its certificate of occupancy); provided, however, that Tenant may elect to operate before such conditions are satisfied, in which event the lease term will commence and Tenant will be entitled to a reduction in rent by fifty percent (50%) until the conditions are satisfied, whereupon Tenant will commence to pay full rent. In the event such conditions are not satisfied for a period of six (6) consecutive months, Tenant may terminate the Lease, whereupon Landlord will reimburse Tenant for all of Tenant’s unamortized expenses incurred in connection with the Lease, including, without limitation, site selection, design and lease negotiation costs and expenses, including the allocated cost of in-house personnel.

FUTURE CONSTRUCTION:  Tenant’s business shall not be impacted by any renovation, reconfiguration or construction of the Property at which the Premises are located.  Landlord shall ensure that there shall be no change of visibility, signage or otherwise allow disruption to Tenant’s business.  Landlord shall ensure that any change to the parking lot will not materially affect Tenant. There shall be no change to the access to Tenant’s Premises without Tenant’s approval, which shall not be unreasonably withheld.

INITIAL CO-TENANCY CONTINGENCY:	 Tenant will not be obligated to pay rent, common area maintenance charges, or any other charges, nor operate for business in the Premises, until: (a) at least eighty percent (80%) of the gross leasable area of the Building, excluding Tenant,  [OPTIONAL:  and/or __________________ [IDENTIFY KEY TENANT(S)] is/are occupied and operating for business (for at least eight (8) hours per day, six (6) days per week); provided, however, that Tenant may elect to operate before such conditions are satisfied, in which event the lease term will commence and Tenant will be entitled to a reduction in rent by fifty percent (50%) until the conditions are satisfied, whereupon Tenant will commence to pay full rent. In the event such conditions are not satisfied for a period of six (6) consecutive months, Tenant may terminate the Lease, whereupon Landlord will reimburse Tenant for all of Tenant’s unamortized expenses incurred in connection with the Lease, including, without limitation, site selection, design and lease negotiation costs and expenses, including the allocated cost of in-house personnel.

ONGOING CO-TENANCY CONTINGENCY:  In the event that at any time during the term of the Lease the occupancy of the Building is less than fifty percent (50%) of the gross leasable area of the Building (including the Premises) occupied by tenants or occupants who are operating at least six (6) days per week and eight (8) hours per day, rent due under the Lease shall be reduced by fifty percent (50%) until the specified conditions are satisfied.  If the conditions remain unsatisfied for 180 consecutive days, Tenant may terminate the Lease, whereupon Landlord will reimburse Tenant for all of Tenant’s unamortized expenses incurred in connection with the Lease, including all of Tenant’s development costs.

TENANT IMPROVEMENTS	: Tenant may install such tenant improvements, fixtures, finishes, communications, security devices and internet services infrastructure in, on or about the Premises as Tenant deems necessary or desirable.  Landlord shall cooperate with Tenant for such installations, including giving Tenant access prior to possession.

SIGNAGE:	Tenant may install signs in, on and about the Premises to the maximum extent permitted by local law.  Landlord hereby consents to Tenant’s trademarked name(s), colors, letters, font and logo in Tenant’s signage.

Landlord will pay for all costs associated with the fabrication, installation and capital repairs and replacement (if & when necessary) of a monument or pylon dedicated for Tenant’s exclusive use. Tenant will pay all costs associated with the fabrication and installation of Tenant’s sign panels and maintenance of the sign panels.  Landlord agrees to construct the monument prior to delivery of the Premises to Tenant and shall install such sign panels prior to Tenant opening for business. Design of such monument sign shall be coordinated with Starbucks and be the highest and largest allowed by applicable signage code.

CONDITION OF PREMISES AND BUILDING/SHOPPING CENTER:  The Premises will be in sound condition, with all of Landlord's Work complete and in compliance with all applicable federal, state and local codes.  The structural elements, roof and building systems of the Building will be seismically and otherwise sound and will meet all applicable federal, state, and local codes, including but not limited to, disabled accessibility standards related to the interior, exterior and any portion of the Premises and any local requirements, such as upkeep of grease traps, etc. and hurricane protection requirements, throughout the term throughout the term of the Lease.

UTILITIES:  Landlord will be responsible for all water connection, sewer connection, traffic and other impact fees and any other extraordinary fees associated with Tenant’s use of the Premises.  At Landlord’s sole cost and expense, Landlord will provide for separately metered utilities for Tenant’s Premises, with all utilities in working condition in compliance with all federal, state and local laws, codes, rules and regulations. Landlord shall ensure that site internet and voice systems, with minimum speed of 50x10 Mbps and from a service provider acceptable to Tenant are available for Tenant’s use at the Premises and installed in in accordance with the attached Landlord Workletter.

TRASH AND RECYCLING:  In accordance with the attached Landlord Workletter, Landlord shall provide an appropriately sited and sized trash enclosure.

[PLEASE ADD ONE OF THE FOLLOWING OPTIONS:]

[NOTE: STARBUCKS SHALL NEGOTIATE ONE OF THE FOLLOWING POSITIONS IN ORDER OF PREFERENCE]

[{TR0}]	[IF EXCLUSIVE TRASH AREA AND TENANT PROVIDES HAULER & SERVICES, ADD:] Tenant shall arrange for its own hauling services for trash, recycling, and all other legally required hauling services for Tenant’s waste materials (i.e., composting, glass only, paper only, etc.). Tenant shall pay all costs of such services directly to the provider and such cost shall not be part of the common area maintenance expenses.

[{TR1}]	[IF LANDLORD PROVIDES EXCLUSIVE HAULER & SERVICES, ADD:] Landlord will arrange for all hauling services for trash, recycling, and all other legally required hauling services for Tenant’s waste materials (i.e., composting, glass only, paper only, etc.). Tenant shall pay the costs of such services [OPTIONS ADD EITHER: {directly to the provider} OR, WHEN PAID TO LANDLORD: {when billed by Landlord as additional rent}] and such cost shall not be part of the common area maintenance expenses.

[{TR2}]	[IF SHARED TRASH AREA AND LANDLORD PROVIDES COMMON HAULER & SERVICES, ADD:]  Landlord will arrange for all hauling services for trash, recycling, and all other legally required hauling services for Tenant’s waste materials (i.e., composting, glass only, paper only, etc.). Tenant shall pay its proportionate share of the cost of such services as a part of common area maintenance expenses.

HAZARDOUS MATERIALS	:  Landlord will: (a) be responsible for removing any hazardous materials on the Property which affect the Premises, and  (b) indemnify, defend, and hold Tenant harmless from loss relating to any such hazardous materials.  Landlord will remove any hazardous materials (including asbestos or asbestos containing materials and mold), from the Premises before delivering possession of the Premises.  Tenant will hold Landlord harmless from loss for any hazardous materials created by Tenant.   Promptly after execution of this Letter of Intent, Landlord will provide Tenant with copies of all environmental reports relating to the Property, including a Phase I Environmental Site Assessment conducted within the six (6) month period prior to the execution of the Lease.

COMMON AREA MAINTENANCE, TAXES AND INSURANCE:	Landlord will insure the Building and will repair and maintain the Building] in good and sound condition and in accordance with all codes and regulations.  Commencing on the Rent Commencement Date, Tenant will pay its pro-rata share of Landlord's actual, reasonable and out-of-pocket costs for real estate taxes, insurance, and common area maintenance.  These charges will not exceed on an annual basis (prorated for any initial, partial calendar year), $______ per square foot for real estate taxes, $_____ for insurance and $______ for common area maintenance for the period commencing on the Rent Commencement Date through the end of the first full calendar year of the Lease term.  Common area maintenance and administrative charges (exclusive of insurance and taxes) will not increase by more than 5%, on a non-cumulative basis, each calendar year.

Upon execution of this Letter of Intent, Landlord will provide Tenant with a detailed breakdown of Landlord's estimated charges for real estate taxes, insurance and common area maintenance for the Premises.

Tenant will not be obligated to pay any portion of any increase in real estate taxes during the initial term resulting from Landlord’s sale or transfer of, or a change of ownership of, the Building or the Property.

CONTRIBUTION FOR MAINTENANCE OF STORM WATER POND AND/OR ROADS: In addition to the above maintenance obligations, Tenant will pay its pro-rata share of Landlord's actual, reasonable, and out-of-pocket costs associated with a parcel contribution toward annual maintenance costs of the shared portions of the Overall Project or Development that may be assessed against the tenant parcel by an REA, Declaration, or other shopping center development title document (said documents are attached to Exhibit R.) These charges may include by way of example, shared storm water pond, internal roadways, a shared monument sign, and lighting.  These charges will not exceed on an annual basis (prorated for any initial, partial calendar year), $3,000 per year through the end of the first full calendar year of the Lease term.  Thereafter, Tenant’s contribution for these costs will not increase by more than 3%, on a non-cumulative basis each calendar year. Tenant’s annual contribution shall only be in effect if there are actual controlling documents that require all of the owners in the development to make a contribution to actual maintenance work to shared portions of the development.

PRO-RATA SHARE:	 Tenant's Pro-Rata Share of common area maintenance, real estate taxes and insurance will be the square footage of the Premises divided by the total square feet of leasable area in the Building. Not to exceed ____ %.

OUTDOOR SEATING:  Tenant may set up an outdoor seating at no additional rent.  In accordance with the attached Landlord Workletter and Landlord generated “design 7-pack” as outlined on the attached Exhibit G, Landlord will provide a fully permitted railed and landscaped brick paver (in accordance with Work Letter requirements) covered outdoor seating area with structural hard canopy ceiling/roof integral to building design immediately adjacent to the Premises containing a minimum of 450 square feet, not including sidewalk areas, as depicted on the attached Site Plan and install railings per code.

PARKING:  At no expense to Tenant, its employees or customers, Landlord will provide all necessary parking for Tenant’s employees and customers (and Landlord will apply for and obtain all variances) necessary to meet all codes and permitting requirements for Tenant's anticipated use, throughout the Lease term.  Landlord will install bike racks as required by code.

Tenant will have the exclusive right to six (6) parking spaces.  Tenant will have the right to install signage identifying such parking spaces for Tenant’s exclusive use.

PERMIT CONTINGENCY:  Tenant will have the right to terminate the Lease if it is unable to obtain all permits, variances and governmental approvals needed for the lawful construction and operation of its store (including signage, drive through, and outdoor seating). Tenant agrees to submit for permits within 120 days following the later of 1) mutual Lease execution, and 2) Tenant’s receipt of Landlord’s fully permitted civil & building plans (in CAD & PDF formats).  Tenant agrees to diligently pursue receipt of all permits.  If despite diligent efforts, Tenant has been unable to receive permits within 120 days following submittal, then Tenant may at Tenant’s sole option either 1) terminate the Lease, or 2) continue pursuit of the required permits.  If after 365 days following submittal, Tenant has still been unsuccessful in obtaining permits, and has not terminated the lease as permitted herein, then Landlord may send Tenant written notice of Landlord’s intent to terminate the Lease, which Tenant may override by waiving its Permit Contingency within 30 days of receipt of Landlord’s termination notice. Until Tenant receives such notice from Landlord, Tenant at Tenant’s option may elect to continue pursuit of permits or terminate as permitted herein. Tenant agrees to diligently pursue receipt of all required permits.

RIGHT OF FIRST REFUSAL:  Landlord agrees that Tenant will be granted a first right of refusal to purchase the Premises during the term of the Lease and any extensions or renewals thereof in the event that (i) Landlord receives a purchase offer for the Property or any portion of the Property and Landlord desires to accept such offer, or (ii) Landlord makes an offer to sell the Property or any part of the Property or transfer the beneficial interest in connection with estate planning.

TRANSFER OF THE PROPERTY: Landlord agrees not to sell, transfer, or assign the property until at least thirty (30) days following the later of the (i) Rent Commencement Date, (ii) completion of all of Landlord's Work and (iii) payment of the full amount of the Allowance to Tenant.

ASSIGNMENT AND SUBLETTING	: Tenant may sublease the Premises or any portion of the Premises or assign the Lease without Landlord's consent.  For purposes of the Lease, any sale or transfer of capital stock including redemption or issuance of additional stock of any class will not be deemed an assignment, subletting or any other transfer of the Lease or the Premises.  Landlord will not be entitled to receive any consideration with respect to any assignment or subletting.  Unless released in writing by Landlord, Tenant shall remain secondarily liable for the financial performance of the Lease.

ALTERNATIVE ENERGY SYSTEMS:  Tenant will have the right to install, utilize, maintain and remove a solar photovoltaic or other alternative energy system, such as wind power (“AE System”), including all related equipment, appurtenances, battery systems, wiring and meters on the roof of the Building for use at the Premises. The installation will include the right to make necessary penetrations through the roof and/or Building for such use.  Landlord will grant Tenant the necessary roof-top and other easements to do so at no additional rental charge.  All systems will be in accordance with applicable law and the approved AE performance specifications and shall comply with the proper roofing standards for such systems. Tenant will be permitted to make any necessary changes, alterations or additions to AE System at any time during the Lease Term (including any extensions or renewals).  Tenant will bear sole responsibility and cost to obtain all required related permits; install, operate and maintain the AE System; and indemnify Landlord, its agents and employees, from and against all costs for property damage arising solely out of the installation, operation, maintenance and/or removal of the AE System. Tenant will be solely entitled to the exclusive use and proceeds from the sale of any electricity generated by the AE System at the Premises.

ELECTRIC VEHICLE CHARGING STATION SYSTEM:  Tenant will have the right, but not the obligation, to install, utilize, maintain and remove an electric vehicle charging station system (“EV Charging System”), including all related equipment, signage, appurtenances, battery systems, and wiring and meters. The EV Charging System may use up to ten (10) parking spaces on the Property, and any ancillary space as necessary to support the EV Charging System.  The installation will include the right to make necessary penetrations or trenchings into the parking lots and driveways of the Property for such use.  Landlord will obtain the necessary consents and grant Tenant the necessary easements to do so at no additional rental charge.  The EV Charging System will be in accordance with applicable law. Tenant will be permitted to make any necessary changes, alterations or additions to EV Charging System at any time during the Lease Term (including any extensions or renewals).  Tenant will bear sole responsibility and cost to obtain all required related permits; install, operate and maintain the EV Charging System; and indemnify Landlord, its agents and employees, from and against all costs for property damage arising solely out of the installation, operation, maintenance and/or removal of the EV Charging System. Tenant will be solely entitled to the proceeds generated by the EV Charging System.  The forgoing shall not constitute a waiver of Landlord’s obligations to install any electric vehicle charging system as required by code.

BROKER’S COMMISSION:	Landlord agrees to pay a brokerage commission to Oculus Real Estate Partners, LLC for services provided in connection with the Lease in accordance with the terms of the separate commission agreement.  Except as specifically identified above, Landlord and Tenant each represent and warrant to the other that they have not dealt, directly or indirectly, in connection with the leasing of the Premises, with any other broker or person entitled to claim a commission or leasing fee.

AUDIT RIGHT:  Tenant shall have the right to inspect and audit at any time, Landlord's books, records and other documents which relate to the acquisition of property and development and construction costs of all improvements required to be constructed or installed by Landlord pursuant to the terms of the Lease.  Landlord and Tenant understand and agree that if and only if the following calculation will result in a reduction of rent from that set forth above, the amount of rent due under the Lease as referenced above shall be adjusted to reflect a seven percent (7%)  return to Landlord upon all costs verified to Tenant’s satisfaction  incurred by Landlord in connection with the development of the Premises to the effect that the first years rent shall be adjusted downward and determined by multiplying said verified costs by seven percent (7%) to set the first year’s annual rent with the adjusted annual rent being increased by the same percentage increases at the same time intervals as set forth in the rent schedule above.

WARRANTY AND REPRESENTATION:  Landlord hereby confirms to Tenant that none of its principals, partners, employees, agents and/or other persons or entities which have any direct or indirect financial interest in Landlord or the Building have been employees of Tenant within eighteen (18) months prior to the execution of this Letter of Intent.

Notwithstanding the nonbinding nature of this letter of intent this warranty and representation shall be binding upon Landlord and constitutes a material term to Tenant’s entering into this Letter of Intent negotiation and subsequent lease negotiations with Landlord.

CONFIDENTIALITY:  Landlord and Tenant will maintain in confidence all information relating to Tenant’s proposed tenancy and development of the Premises, including, but not limited to, the terms of this Letter of Intent and the Lease, and will not disclose such information to any other party without written consent.  Such confidential information may be released to the parties' employees, partners, consultants, attorneys, accountants and lenders who have a reasonable need for such confidential information, provided that such individuals agree to maintain the confidential nature of the information.  Notwithstanding anything in this Letter of Intent to the contrary, the foregoing provision shall be binding on the parties.

Please sign below if the terms described in this Letter of Intent are acceptable to you.  This LOI is subject to approval by Starbucks senior leadership, and there may be significant delays between the date the letter of intent is signed and the date the first draft of a lease is generated by Starbucks.  This Letter of Intent is non-binding, except as expressly stated herein.  It will be superseded by, and the parties will only be bound by, the terms of a written lease agreement, in form and substance satisfactory to both parties, which has been fully executed and delivered by the parties. The lease document will contain a provision allowing for electronic or digital signatures, which electronic or digital signatures will be deemed binding by the parties.  Until and unless the parties mutually execute a lease, either party may terminate the negotiations contemplated herein at any time, for any reason, and without liability or further obligation (except in regards to its confidentiality obligation) to the other party, by providing written notice of termination to the other party.  Notwithstanding the nonbinding nature of this Letter of Intent, Landlord acknowledges that Starbucks deems each of the terms of this Letter of Intent as material terms that serve as the basis for Starbucks’ decision to move forward with lease negotiations and that (i) any subsequent demands by Landlord for deviations from the terms of this Letter of Intent or (ii) delays in providing documentation specified herein or as further requested by Starbucks, may result in significant delays and a termination of lease negotiations.

STARBUCKS CORPORATION

______________________________, representing

STARBUCKS CORPORATION

Representative Name: 	Mike Minihan

Representative Title: 	Broker

cc: Adam Updike, Store Development Manager

Accepted and agreed to this ______ day of _______________, 20_______.

LANDLORD:

______________________________

Name:  _______________________

Title:  ________________________

# STARBUCKS LETTER OF INTENT – CONTINGENCY ADDENDUM

TITLE CONTINGENCY:

Landlord shall become the fee simple owner of the property on or before 		.

RECORDED DOCUMENTS:

The Lease will be subject to a Declaration or Recorded Document subject to Starbucks approval.

THIRD-PARTY USE AND DEVELOPMENT APPROVALS, WAIVERS, OR CONSENTS:

Landlord shall deliver all appropriate approvals, waivers, or consents for Starbucks permitted development and use of the Premises on or before 		.

OTHER CONTINGENCY:

[DESCRIBE THE CONTINGENCY AND LIST THE CONDITIONS THAT MUST BE COMPLETED TO SATSIFY THE CONTINGENCY]

[INSERT THE DATE BY WHICH LANDLORD IS OBLIGATED TO SATISFY THE CONTINGENCY]

Exhibit A – Site Plan

Exhibit B – Signage

Exhibit C - Parking

Exhibit G – Needed “SEVEN PACK” Design Materials

Landlord Drawings are required (in PDF and CAD or Revit) for Tenant to complete its CDs. Tenant’s CDs are typically generated within 16 weeks of the later to occur of REC approval or Tenant’s receipt of Landlord’s Seven Pack which includes Landlord’s Plans, Signage Criteria and schedule of anticipated dates.

What’s in the Seven Pack?

- Site Plan (in PDF and CAD or Revit)

- Floor Plan / LOD (in PDF and CAD or Revit)

- Building Elevations (in PDF and CAD or Revit)

- Building Wall Sections (in PDF and CAD or Revit)

- Building Roof Sections (in PDF and CAD or Revit)

- Sign Criteria

- Landscape Plan

Exhibit L – Landscaping

Link to Landscape Planting Lists

Link to Landscape Functional Guidelines

EXHIBIT - N

- mortuary, funeral parlor, cemetery, mausoleum, burial grounds

- massage parlor (except as part of the regular services offered by a medical doctor, chiropractor, health club or day spa)

- tattoo or piercing parlor

- adult bookstore or adult video store engaging in the sale or rental of sexually explicit or pornographic materials of a rating more sexually explicit than “R” by the film rating board of the Classification and Rating Administration

- pawn shop

- flea market

- auctions

- transient shops, booths, and kiosks

- traveling carnivals and fairs

- stockyard

- live animal displays (other than a pet store business)

- circus

- gun shop or firearms show, exhibition, or training

- fireworks sales, displays, and demonstrations

- liquor store

- drug treatment facility

- any business or facility used in growing, delivering, transferring, supplying, dispensing, dispersing, distributing or selling marijuana or any synthetic substance containing tetrahydrocannabinol, any psychoactive metabolite thereof, or any substance chemically similar to any of the foregoing, whether by prescription, medical recommendation or otherwise, and whether consisting of live plants, seeds, seedlings or processed or harvested portions of the marijuana plant

- sale, distribution or display of any drug paraphernalia primarily used in the use or ingestion of marijuana or illicit drugs

- night club or discotheque

- pool hall or billiard parlor

- automotive repair

- junkyard

- outdoor storage, display and sales of goods, merchandise, and equipment

- A “thrift” or “second hand” store, including as examples those operated by Goodwill Industries or the Salvation Army but “second hand store” shall not include antique stores or nationally recognized re-sellers of electronic games or sporting equipment

- hostel, motel or hotel

- mobile home park, campground, transient lodging, truck stop, overnight parking for vehicles, trailers, and other equipment  (except that this provision shall not prohibit the temporary use of construction trailers during periods of permitted construction or maintenance)

- check cashing (other than a bank)

- short-term or “payday advance” type loans

- car wash

- laundry dry cleaning facility or laundromat

- assembling, manufacturing, distilling, refining, smelting, agricultural, or mining operation

- hazardous substances or materials (other than automobile fueling stations)

- unusual fire, explosive, or other hazards

- on site dumping, disposing, incineration, recycling, or reduction of waste/garbage

- catch-all such as: “public or private nuisance”

Exhibit R – Senior Documents (REA, Title Documents, Restrictions, Etc.)

Exhibit S – Schedule of Critical Dates

| 1. Estimated Date LOD & Elevations are available (CAD format)? |  |
| --- | --- |
| 2. Estimated Date LL site plan available (CAD format)? |  |
| 3. Estimated Date LL to submit for Site Plan Approval to city: |  |
| 4. Estimated Date LL building plans available (CAD)? |  |
| 5. Estimated Date Site Plan Approval Due: |  |
| 6. Date LL to Submit for Base Building Permit to city: |  |
| 7. Estimated Date Base Building Permit Due: |  |
| 8. Estimated Date Landlord starts Construction (date pouring footings): |  |
| 9. Estimated Date Landlord completes Construction: |  |

TENANT’S CONSTRUCTION REQUIREMENTS

Drive Thru Cafe Workletter

For anywhere North America

CPN: XXXXX

Refer to Tenant Shell Criteria Dated ________________

Refer to Tenant Technical Criteria Dated __________________

1. Landlord Construction

Tenant has provided Landlord with Tenant’s Requirements for Landlord Workletter, which is a package of information that includes Tenant’s standards, specifications and other details or documents pertaining to Landlord’s Work (defined below) in the leased premises (the “Tenant’s Requirements”). Additionally, Landlord will be required to coordinate certain aspects of the work with Tenant and/or Tenant’s Construction Documents as defined in this Workletter. Landlord grants to Tenant and its employees, agents, consultants, affiliates, contractors and subcontractors, a right of entry upon the Property prior to Tenant taking delivery of possession of the Premises to conduct pre-construction activities at Tenant’s reasonable discretion.

[Provide (i) Site Survey meeting ALTA survey standards, (ii) Site Plan in accordance with the minimum standard requirement established for an ALTA/NSPS Land Title Survey, and (iii) Soils Report in compliance with Geotechnical Special Publication 2017.]

Landlord will provide the Tenant with a copy of Landlord’s construction schedule, including the name, phone number and address of Landlord’s contractor and project manager, and copies of all Tenant and governmentally approved Landlord’s Plans (as defined in the Lease, or, if not defined in the Lease, “Landlord’s Plans” will mean the Tenant (pursuant to Tenant’s Criteria Drawings) and governmentally approved plans for Landlord’s configuration of the leased premises and any other portions of the building and the shopping center of which such leased premises are a part, coordination of Landlord’s Work, Tenant’s drive-thru facility, if any, and the parking area, if any), and copies of all changes to such Plans as shall have been approved by Tenant. The foregoing shall be provided to Tenant by the delivery date for such items as set forth in the Lease (or, if no such delivery date is set forth in the Lease, at least {timeline} days prior to the Scheduled Delivery Date as defined in the Lease, or, if the Scheduled Delivery Date is not defined in the Lease, the date set forth in the Landlord’s construction schedule for completion of all Landlord’s Work, which date shall be referred to herein as the “Scheduled Delivery Date”. The construction schedule must include completion dates for key construction milestones, which milestones shall include completion of access/egress, completion of Tenant parking field, installation of permanent utility services, and a Certificate of Occupancy for the building and the shopping center of which the leased premises are a part, all of which must occur prior to the Scheduled Delivery Date.

The Tenant’s Requirements, together with the provisions of the Lease governing Landlord’s Work, this Landlord’s Workletter, and the Landlord’s Plans, are referred to herein, collectively, as the “Landlord’s Work Documents.”

If not otherwise defined or expressly described in the Lease, “Landlord’s Work” shall mean all items described in the Landlord’s Work Documents and any work necessary to bring the leased premises and the building and the shopping center of which the leased premises are a part, in each case, into the condition required under the Landlord’s Work Documents; together with obtaining, at Landlord’s sole cost, (i) all approvals to finalize a master sign program (if required or necessary) acceptable to Tenant by the date that Landlord delivers Landlord’s Plans to Tenant, and (ii) all permits and/or government approvals for the construction and operation of Tenant’s drive-through facility (if applicable).

Landlord’s Work shall be completed in compliance with the Landlord’s Work Documents, standard construction practices, and all applicable Federal, State and local laws, rules, codes and regulations. Landlord shall provide Tenant with a weekly construction status report with digital progress photos. During construction of all Landlord’s Work, Tenant’s project manager, or its designated representative, may enter upon the leased premises and the building and the shopping center of which the leased premises are a part to inspect progress, take progress photos, and to determine if Landlord’s Work is being completed in accordance with the description of Landlord’s Work and the Landlord’s Work Documents. Upon the completion of Landlord’s Work, Landlord shall provide Tenant with completed as-builts for the leased premises.

2. Parties Obligations Upon Delivery of Possession

Landlord shall notify Tenant in writing at least ten (10) days (if not otherwise set forth in the Lease) prior to the date that Landlord anticipates that the leased premises will be ready for Tenant's occupancy, together with a record drawing of the completed Premises. Tenant shall arrange promptly to inspect the leased premises to determine whether Landlord’s Work has been completed in accordance with the Landlord’s Work Documents. At the time of Tenant's inspection, Landlord shall demonstrate that all of Landlord's Work and all mechanical systems of the leased premises are in good working order; provided, however, that if electrical service is not connected at the time of Tenant’s inspection, then, notwithstanding anything to the contrary in any other Landlord’s Work Documents, Tenant’s inspection shall not be deemed complete and Landlord shall not be deemed to have satisfied all conditions to the delivery of the leased premises until such electrical service is completed and Landlord shall have demonstrated that all of Landlord's Work that requires completed electrical service is in good working order, including, without limitation, HVAC, the Drive Thru Window, if applicable, and rooftop fan.

Upon completion of Tenant’s inspections, Tenant shall deliver to Landlord a written punch list of all incomplete or faulty items of construction or mechanical installation (the punch list shall be limited to items that are cosmetic in nature and can be completed within fourteen (14) days), and any necessary mechanical adjustments and finish work needed to bring the leased premises and the building and the shopping center of which the leased premises are a part into the condition required by the Landlord’s Work Documents. Except as expressly provided to the contrary in the Lease, Landlord shall repair all punch list items as a condition to Tenant's acceptance of the leased premises, or if Tenant chooses to accept delivery of the leased premises prior to completion, within fourteen (14) days of the date Tenant delivers the punchlist to Landlord, unless another date is specified in the Lease. Upon Tenant’s acceptance of delivery of possession of the Premises, Landlord and Tenant shall execute the delivery of possession form in accordance with the Lease or a written acknowledgement of delivery and acceptance if a delivery of possession form is not a part of the Lease.

If on the Scheduled Delivery Date, leased premises and the building of which the leased premises are a part are not in the condition required by the Landlord’s Work Documents, and/or if Landlord fails to repair all punch list items at the time and in the manner described in the preceding paragraph, and if, in either case, Tenant elects to accept possession of the leased premises, then, in addition to any remedy provided in the Lease and without limitation thereof, and except as expressly provided to the contrary in the Lease, Tenant is hereby authorized to complete all or any portion of the outstanding Landlord’s Work and/or punchlist items necessary to bring the leased premises into the required condition and Landlord shall reimburse Tenant for the actual cost of such work plus an administrative surcharge of fifteen percent (15%) of the amount otherwise due Tenant, to compensate Tenant for its employees' time, within thirty (30) days of receipt of an invoice for such sums. Landlord agrees that the Tenant's and its contractor's determination of the scope of all work that is necessary to bring the leased premises into the required condition is deemed appropriate and the cost thereof plus the surcharge referred to above shall be final and binding on Landlord. If Landlord does not reimburse Tenant as required by this Landlord Workletter then in addition to any remedy provided in the Lease and without limitation thereof, Tenant may offset such sum against the monthly base rent and all other charges payable by Tenant under the Lease until such sum has been fully recouped. Nothing herein shall limit or impair any of Tenant’s rights and remedies set forth in the Lease or Landlord’s obligations thereunder, including, without limitation, requirements for the condition of the leased premises and the building and the shopping center of which the leased premises are a part and Landlord’s obligation to construct and complete all Landlord’s Work.

3. Incorporation with Lease

This Landlord Workletter is attached to and forms a part of the Lease and is intended by the Landlord and Tenant to be interpreted in all respects in a manner that is consistent with the terms, conditions and provisions of such Lease. Notwithstanding the foregoing, the express terms, conditions and provisions of the Lease (including, without limitation, those terms, conditions and provisions of the Lease, if any, governing delivery dates and the rights and obligations of the parties in the event that on the Scheduled Delivery Date, the premises are not delivered to Tenant in the required condition) shall control in the event of any conflict or inconsistency between the express terms, conditions and provisions of the Lease and this Landlord Workletter.

DESCRIPTION OF LANDLORD WORK

NEW AND/OR EXISTING CONSTRUCTION

| CSI | Scope/Category | Details |
| --- | --- | --- |
| 014000 | Quality Control | General: Landlord shall provide Tenant with construction status updates through regular weekly progress reports and OxBlue site camera(s). Landlord will secure one (1) 12 Megapixel Cobalt Exterior OxBlue Construction Camera with Solar panel (optional). Camera shall be located at an agreed upon location where the video feed can maintain visual connectivity w/ landlord related construction. The Landlord shall contact Starbucks national account representative @ OxBlue to initiate rental and delivery. The camera shall be installed and operational within 72 hours of construction mobilization. Contact: OxBlue Corporation / 1777 Ellsworth Industrial Blvd. NW / Atlanta, GA 30318 Attn: Josh Christensen (404) 850-8711, enterprisesupport@oxblue.com or jchristensen@oxblue.com |
| 14100 | Regulatory Requirements | Landlord shall be responsible for planning and zoning approval, land entitlements, and all associated impact fees associated with Site improvements. If required by the local jurisdiction, Landlord shall also obtain an outdoor seating permit. |
| 024000 | Selective Demolition | N/A |
| 033000 | Concrete | Site Footings: Landlord shall provide concrete footings with specified anchor bolts in accordance with tenant's approved signage. Footing design shall consider bearing capacity of soils, wind loads, weight of signage and all applicable codes. Landlord shall coordinate anchor bolt placements, footing locations, and electrical/data stub-ups with Tenant provided cut sheets. Landlord shall install the following footings and tenants specified bollards in approved locations: - Tenant's dedicated monument sign(s) and/or pylon sign - bollards - Pre-menu board - Order menu board - Digital order screen and canopy - Directional signage three [3] typical per site - Clearance/height restriction bar |
| 033001 | Building Subfloor | General: Landlord shall run all associated below ground drainage, data and electrical conduits in accordance with Tenant Criteria floor penetration plan. Landlord shall provide concrete slab with 18” dia. “leave outs” for tenant provided fixtures. Size plumbing and electrical conduit and rough-ins as designated in Tenants’ criteria drawings and terminate minimum 1’-0” AFF. Subgrade Prep: Subgrade shall be clean, structural grade fill made level and compacted in accordance with the Landlord's geotechnical report. Provide 15 mil under slab vapor barrier under all interior slabs-on-grade. Lap and seal seams, penetrations, and against foundation wall. Foundation Walls: Exterior foundation shall be engineered to minimize overlap into Tenant's space. Below grade utility sleeves shall be provided through the foundation wall as designated in tenants’ criteria package. Concrete: Concrete shall be Type 1 Portland cement with normal weight aggregate ASTMC33. Mix in accordance with ASTM C94 and engineer to meet all applicable dead and live loads. Concrete shall have a minimum 3000 PSI compressive strength at 28 days. Maximum allowable variation of 0-1/8" in 10'-0" (3mm in 3m) from the level plane, and 0-1/16" in 24" from the floor high point. Control Joints: Control joints shall be saw cut min. 0-3/16” width; straight, perpendicular, or parallel to building lines and slab edges. Non-Exposed Finish: Light steel trowel finish interior floor slab surfaces to receive Tenant tile or other bonded materials. Finish Tolerance = FF 24, FL 17, minimum local value. Regulatory: All sub-flooring must meet applicable dead and live load code requirements. All transitions shall comply with jurisdictional accessibility regulations. |
| 101400 | Site Signage | Landlord to provide [MONUMENT] or [PYLON] to the maximum allowable height [INSERT HEIGHT] per code or otherwise approved by Tenant. Landlord to fabricate and install sign, tenant to install sign panels. |
| 105523 | Mailbox | Mailbox shall be installed by Landlord and placed per jurisdictional requirements. |
| 221113 | Water Distribution | General: Landlord to provide water pipe inlet size to meet local code/ JHA as verified by tenant engineer. Permit, furnish, install at rear of Tenant’s space isolated from electrical equipment a minimum: • One [1] 1½”(min.) independent domestic water meter, designated for Tenant's use, with shut-off valves on either side and bypass valving for maintenance. • Provide one [1] 1½” (min.) copper domestic water line stubbed into the Premises. Location to be designated by Tenant. • One [1] certified & tested backflow preventer with protective enclosure and shut-off ball valve. Backflow prevention assembly shall provide maximum water pressure drop of 15 psig (pounds per square inch gauge). Service Size: Minimum domestic water service size is 1 ½” based on actual demand and must meet local code/JHA. For service size less than 1 ½”, the Landlord shall consult a plumbing engineer during due diligence to ensure water capacity can support Starbucks equipment at point of use and provide a booster pump to meet tenants maximum hourly demand use. Water Pressure: Water service pressure during operation shall be maintained at 65 psi +/- 5 psi pressure with a maximum 70 psi at the location where the water service enters the project space. A whole house booster pump to maintain pressure or pressure reducer is responsibility of the Landlord. |
| 221319 | Grease Abatement | General: The Landlord shall utilize Starbucks National Purchasing Program for procurement and to assist with specifying an approved unit. The Tenant's approved FOG interceptor manufacturer is Schier. Approach: The Landlord shall install a minimum sized GB75 Hydro-Mechanical interceptor below grade, with connections to plumbing fixtures/floor sinks as required by the authority having jurisdiction. The tenant’s preferred location is outside the building below grade, adjacent to BOH service door. If a jurisdiction requires Starbucks to specify a larger interceptor the Landlord will work with Schier’s national account leads to interface with the jurisdiction, and gain approval of Starbucks standard device. Landlord shall segregate grease laden drainage from other and the minimum invert elevation at the furthest point of connection shall be 24” below finished floor and maintain a minimum slope of 0-¼” per lineal foot to interceptor. Documentation: A photograph of the Schier interceptor label with model number and serial number clearly visible must be provided to the Tenant. |
| 321200 | Site Paving | General: Landlord shall be responsible for vehicular paving including drive thru lanes, parking, and drive aisles. Landlord shall prepare subsurface soils, backfill sub-base, and properly compact per the jurisdictionally approved engineering plans. Trash Enclosure: Provide 6" thick sealed concrete paving at trash enclosure. Extend concrete wear apron 12'-0" from front edge of enclosure toward hauler access point. Asphalt Paving: Landlord shall provide asphalt paving throughout parking area. A licensed engineer shall appropriately specify sub-base, aggregate, asphaltic binder, and sealant to apply with applicable codes. Reinforced Concrete: Landlord shall provide 6" thick normal weight reinforced concrete paving throughout drive-thru lane. Concrete shall extend width of drive-thru lane or minimum 12'-0" from edge of curb. A licensed engineer shall appropriately size formwork, aggregate mix, reinforcement, and control joints in compliance with applicable codes. |
| 321300 | Sidewalks & Patios | Hardscape: Landlord shall provide cast in place sidewalks, curbs, curb cuts, landscape retainage, ramps, and/or stairs as needed to ensure onsite pedestrian and vehicular access. All components shall be code compliant and accessible as required by the local jurisdiction. Sidewalks shall slope away from the building to promote positive drainage. Cast-in-place concrete shall be engineered by a licensed professional per the geotechnical report and in conformance with all applicable codes. Patio Finish: Concrete finish shall be float troweled with transverse brush and steel finish. Provide 2” wide smooth troweled control joints located per Tenants design criteria package. Moisture cure concrete for a minimum of seven [7] days and apply two [2] coats penetrating sealer to finish. Railings/Planters: Landlord shall provide Patio Railings and/or integral planters to isolate seating from vehicular or pedestrian transit. Railings and planters shall be specified and located per Starbucks tenant criteria package. |
| 321700 | Pavement Markings & Wayfinding | Wayfinding: Provide parking lot pavement markings including accessible markings, stall striping, site and drive thru wayfinding graphics per jurisdictional requirements, and as defined in Starbucks tenant criteria package. Install site signage including Starbucks dedicated parking signage and accessibility signage as approved by the local jurisdiction. Wheel Stops: Provide wheel stops at all parking spaces adjacent to Tenant's sidewalk, patio, and directly next to building. |
| 322000 | Trash & Recycling | Required Dimensions: Provide a trash enclosure minimal interior clear 15'-4" wide x 11’'-8" deep x 10’-0" high, with space inside to accommodate (2) four (4) cubic yard trash containers, and two [2] sixty-four (64) gallon containers. Enclosure doors shall be steel clad minimum 7’-0” height, painted to match building façade. Cladding: No open chain link enclosures will be allowed, and all construction materials shall be approved by Tenant. Location & Access: The trash enclosure shall be physically located on the site in a mutually agreed upon location no greater than 150-0” from the Tenant's service door without interrupting the flow to the drive-thru lane, access to the parking areas, or ingress / egress to and from the Premises. Pathway: The pathway from the Premises to the enclosure and the enclosure itself shall be well lit. Access pathway from rear door to Tenant's trash area shall be ramped max. 1:12 to allow rolling access. |
| 328000 | Irrigation Systems | Installation: Landlord shall furnish and install irrigation system in compliance with tenant provided irrigation standards and local regulations. Irrigation system shall be type drip or micro spray with weather and soil moisture sensor and SMRT Logic internet compatible. System design shall maximize delivery of water to plant areas, including planters, while minimizing over-spray, runoff and customer disruption. Controls shall be set to run 1 hour prior to opening and after closing to minimize evaporation loss and business hours disruption. Metering: Irrigation system shall be separately metered and include an integral backflow prevention device. Vault type control and valves are preferred and must be accessible by Tenant. |
| 329300 | Landscaping | General: Starbucks standards apply to landscape areas adjacent to building, patio, drive thru lanes, trash enclosure and pedestrian access. Planting Design: Landlord shall furnish and install landscape in compliance with tenant provided landscape standards and local regulations. Landscape design must use native and adaptive variety species that are type low maintenance and drought tolerant per the Landlord design Criteria package and approved by Starbucks. Landscape shall minimize rain and irrigation run-off while conserving and utilizing existing vegetation as required. Designs shall include a mixture of trees, shrubs and ground cover to retain soil moisture, mitigate solar heat gain, and enhance the Tenant's customer experience. Soils: Landlord shall perform soil testing in compliance with tenant provided soil specifications. Trees: In no case will the caliper of newly planted trees be less than 2” and stand less than 8'-0" tall. All trees shall be staked at a minimum of one year or until they are fully established. At no point should a tree block visual access to prominent site features such as storefront windows, entrances, Tenant signage, site wayfinding, or pedestrian access when fully grown. Turf: No artificial turf grass, seeds, and/or straw are permitted on Tenant's site. Planters: All planters should be designed to ensure proper drainage and include an appropriate amount of native topsoil to ensure optimum plant health. Where applicable, provide a minimum 1" of river rock over landscape beds to retain soil moisture and minimize weed growth. Maintenance: Any landscaping designs that require maintenance items after the first year including, but not limited to, removal of planter stakes and temporary irrigation, must be scheduled at completion of landscaping work. An 18” non-vegetated strip shall be maintained adjacent to building façade. |
| 333100 | Sanitary Sewer | General: Permit, furnish, install 5'-0" inside of Premises at Tenant’s back of house, a labeled 4” sanitary sewer waste line dedicated for Tenant’s use. The minimum invert elevation at the furthest point of connection shall be 24” below finished floor and maintain a minimum slope of 0-¼” per lineal foot. Landlord shall hydro flush and video scope Tenant's sewer lateral to connection with city sewer main. |
| 0334100 | Storm Water Management | System: Provide a subsurface stormwater retention system to accommodate Tenant's building configuration, site circulation, patio, site amenities, and jurisdictional requirements as defined in the Landlord's approved site plan. Downspouts: Coordinate location of roof and canopy downspouts with Landlord's approved site plan. No direct discharge to sidewalks, drive aisles, patio, or parking lot are permitted. |
| 335100 | Gas Distribution | General: If applicable, permit, furnish, install gas meter or sub-meter outside Tenant's space isolated from customer view. Extend service to a location 5'-0" inside of Premises at Tenant's back of house with shut off valve and tee. Natural Gas Service Size: The minimum natural gas service size is 1 ½” (38.1 mm) with low pressure (7” WC or less). Provide pressure regulator(s) for medium or high pressure as supplied by the gas utility company. Piping size shall be based on pressure distribution, local availability, and shall be coordinated with store gas demand, based on equipment input and pressure requirements. Interior Installation (Ceiling Cavity): Gas distribution to RTUs will be run through the ceiling cavity. Gas piping shall be held tight to underside of structure and extended through roofing adjacent to Tenant units. Terminate lines at individual RTUs with approved shut-off valves. Provide a tee and shut-off valve inside tenant space for future gas water heaters. |
| 073000 | Roof Assembly | System: Landlord shall provide fully adhered or mechanically fastened 60 Mils (nominal thickness) EPDM or TPO roofing system. System shall conform with applicable federal, state, provincial, and local building codes, and be engineered to satisfy site specific structural, fire, and thermal requirements. Insulation shall be minimum R-38 or comply with the minimum prescriptive values outlined in the IECC (International Energy Conservation Code). System shall include underlayment, rigid board insulation, glass mat cover board, sheet flashing, edge sealants, saddles, corners, and vent flashing. Structure: Roof Structure shall be designed in conformance with local codes and engineered to resist uplift, live, and dead loads requirements. In addition, the structure shall be sized to support Tenant's RTUs, utility fan, and remote condenser (if applicable, in locations to be coordinated with tenant). Finish: SRI (Solar Reflectance Index) = 79 minimum Flexible Walkways: Install walkway products in locations to permit travel from rooftop access to all utilities. Heat weld to substrate or adhere with compatible adhesives. Penetrations: Landlord shall furnish and install rooftop penetrations, curbs, and associated flashings. Size and location of penetrations shall be coordinated with and approved by Tenant prior to installation. Penetrations shall include and not be limited to the following: - Plumbing Vents - Extend 12” into building for Tenant’s tie-in - Water Heater B-Vent (if applicable) - Utility Set Fan Curb - RTU Curbs - Electrical and Gas penetration (if applicable) for RTU’s - Refrigerant line penetration and sleepers for Ice machine condenser (if applicable) Rooftop Access (Exterior): Provide aluminum channel exterior rooftop access ladder at rear of building in Tenant approved location. Ladder shall be fixed exterior grade with lockable access. Ladder shall be in compliance with OSHA regulations and conform with local and national codes. Drainage: Landlord shall furnish and install jurisdictionally approved rooftop drainage to tie in with site and/or municipal storm water management system. Scupper and downspouts shall be minimum .032" thickness formed and coated aluminum, color to match adjacent finish. Coordinate scupper/downspouts with exterior building elements and Tenant provided signage. |
| 084000 | Exterior Openings | General: Landlord shall furnish and install all exterior doors, frames, windows and/or storefront system as shown in the tenant criteria set, including and not limited to (1) primary entry door, (1) secondary entry door and (1) rear access door. Doors shall be in compliance with all local and national codes. Thermal resistance of all openings shall comply with the prescriptive requirement of the IECC (International Energy Conservation Code). Steel Doors: Landlord shall furnish and install [1] commercial grade 42" x 84” rear service door for egress. Verify spec with Starbucks project team. Door(s) shall be cold rolled and welded 16-gauge steel with polystyrene core. The frames shall be Double Rabbet fully welded 14-gauge steel. Finish hot dip galvannealed coating with two [2] coats shop prime color similar to finish. Aluminum Storefront: Storefront shall be 2” x 4-1/2” extruded aluminum section in conformance with ASTM B221; center set; flush design; thermally broken. Doors shall be heavy duty aluminum/glass type; out swinging with 10” bottom rail. Design and size members and anchorages to withstand wind loads as required by the jurisdictional code, and to resist door pivot and closer reaction forces. Finish shall be anodized, coordinate color with Tenant. Glazing: Storefront glazing to be clear, non-tinted, non-reflective, double glazed and low-e with U-value complying with the appropriate climatic zone in the IECC (International Energy Conservation Code) or local jurisdiction requirements. Provide impact resistant glazing in hurricane or special wind regions as defined in ASCE 7-05. Hardware: Landlord shall furnish and install exterior door hardware in compliance with the provisions of all applicable codes. Reference Starbucks tenant criteria package for hardware specifications and procure through Starbucks national vendor (Locknet). |
| 085000 | Drive Thru Window | General: Landlord shall furnish and install fully operational Ready AccessTM Drive Thru Window. Include transom, sidelights, and air curtain (heated / unheated per local code). Window finish to match adjacent storefront. Select window based on Tenant provided criteria package and geographic location of store. Coordinate window configuration (right to left or left to right) with Tenant. Electrical Connectivity: Install two [2] 20 amp dedicated circuits from MDP to termination point as specified by window manufacturer. One [1] circuit for MOE window system and one [1] circuit for heated/unheated air curtain. Window Shelf: Install service window shelf at 36” AFF inside and 42” outside as measured from finish surface of DT lane. Finish shall be Paperstone. |
| 092000 | Wall Assembly | General: Landlord shall provide exterior walls and interior Gypsum Wallboard (GWB) demising walls. Systems shall be engineered to resist dead and live loads based on jurisdictional requirements. Insulation: Provide continuous wall insulation from floor to deck in sufficient thickness to meet the minimum resistance of R-21 or R13+R6.5ci (continuous insulation). In cold weather zones, provide additional insulation as required to meet the prescriptive envelope requirements of the IECC. Blocking: Landlord shall provide wall anchorage for all exterior Tenant furnished items. Design anchorage to resist vertical and lateral loads, with a safety factor of 2. Gypsum Wallboard (GWB): Landlord shall provide GWB on interior face of exterior walls and demising walls to 10’-0” AFF. Furnish boards of maximum permissible length, with tapered edge for boards to be exposed, taped, and finished; min. 0-5/8” thick. Install per GA216 and requirements for each fire assembly. Coordinate all rough-in wall conduits, plumbing, and blocking with tenant criteria package prior to installation of GWB. The interior walls shall be Level 4 finish primed white. Penetrations: Wall penetrations for Tenant provided fixtures, including but not limited to; building signage, sconce lighting, exterior speakers, exterior outlets, and frost-proof hose bibs shall be provided by the landlord. Penetration locations shall be coordinated with Tenant criteria package, waterproofed and flashed. Conduits with pull strings shall be run in wall and terminated at underside of structure in Tenant's space. |
| 095000 | Ceiling Assembly | General: Landlord shall deliver Tenant’s space with ceiling open to structure. Ceiling assembly shall meet the hourly fire ratings approved by the local jurisdiction having authority. Ceiling assembly: including fireproofing, insulation, wood, concrete, or metal structure, shall be prepped and primed to receive Tenant's future finish. Landlord shall coordinate height to bottom of structure with Tenant, and shall include adequate spacing for ceiling finishes, lighting, HVAC. |
| 107000 | Site Accessories | Bike Rack: Landlord shall install Tenant approved bike rack(s). Install in a mutually agreed upon location which limits pedestrian disruption and adheres to the barrier free provisions of the code. Utility Screening: Landlord shall provide screen fence per Tenant's Design Criteria at rear of building to screen utility meters and rear access door from drive-thru lane. Finish: All screening shall be complementary to building aesthetic and placed in accordance with local jurisdictional requirements and Tenant’s Design/Technical Criteria Package and coordinated site plan. |
| 107300 | Exterior Patio Shaded Structure | General: Landlord shall permit, furnish, and install aluminum Awnex Architectural Brand canopy at Tenant’s patio. Reference Tenant’s Criteria package for dimensions and location of Canopy. Footings: Landlord shall provide concrete footings with specified anchor bolts to receive patio Canopy. Footing design shall consider bearing capacity of soils, wind loads, deadload of canopy and solar panels (if applicable). Landlord shall coordinate anchor bolt placements, and electrical/data stub-ups with vendor provided cut sheets. Drainage: Landlord shall install sub surface drainage pipe from Awnex down spout to site storm water management system. Coordinate termination point of pipe at canopy footing with vendor provided cut sheets. Electrical Conduits: landlord shall provide minimum (4) 1” sub surface electrical conduits from tenant BOH to termination points @ canopy structure. Coordinate location of electrical stub-ups with tenant’s criteria package. Solar (if applicable) -Two [2] 1" conduits from Solar disconnect to termination point at canopy footing. Lighting -One [1] 1" conduit from Tenant’s MDP to termination point at canopy footing. Patio Speakers: One 1” conduit from patio canopy support structure to tenant’s network cabinet |
| 107300A | Drive Thru Exterior Fabric Awning | Drive Thru Fabric Awning: Landlord shall permit, furnish, and install Starbucks specified fabric weather protective awning above drive thru window. Canopy shall be exterior grade Polyester, UV fade, and mold resistant. Landlord will install inwall blocking to secure canopy, and appropriately flashed per manufacturer provided details. Finish: Canopy specification and color per Tenant’s approval. Reference Starbucks tenant criteria package. |
| 210000 | Fire Protection | General: If required by applicable codes; Landlord shall engineer, obtain permits, furnish and install a certified fire sprinkler system in dedicated riser room. Locate fire main in BOH in Tenant approved location. Include flow valve, tamper devices, back flow prevention and applicable clearances as required by the authority having jurisdiction. System shall be fully operational and connect to Landlord provided fire alarm system. Installation: Landlord shall coordinate installation of sprinkler system with Tenant provided plans. Uprights, side wall, pendant, and concealed heads shall be fully coordinated with Tenant’s interior layout plans and conform with all applicable codes. Sprinkler installation shall be coordinated with Tenant’s GC to ensure system is inspected, certified, and fully operational prior to Tenant’s occupancy. |
| 224200 | Plumbing Fixtures & Equipment | Plumbing Vents: Furnish, engineer, and install all plumbing vents required for Tenant's future construction. Vents shall be properly sized based on tenant's future fixture unit count. Landlord shall properly flash roof penetration and extend pipe to terminate in the ceiling above tenant's space. Hose Bibs: Provide [2] lockable recessed frost-proof hose bibs, (1) adjacent to Tenant's BOH entry and (1) adjacent to patio area. Final location shall be coordinated with tenant's plans prior to installation. Hose bibs shall be connected to a 0-½” insulated copper pipe, run within exterior wall assembly, and terminated at underside of structure in Tenant's space. Leave piping exposed and visible for Tenant's future connection. If system is pressurized provide ¼ turn shut off valve. |
| 132116 | Walk-In Refrigeration | Intentionally Omitted for Bridge Prototype |
| 233000 | HVAC Ductwork | General: Landlord shall furnish and install RTU’s drop plenum when units are set. Extend supply and return air 3’-0” below roof with flanged connection for future Tenant tie-in. Tenant will furnish and install the remaining HVAC duct work throughout space. |
| 233400 | Exhaust Fan & Ducting | Fan: Furnish and install two (2) rooftop exhaust fans, associated curb, roofing, flashing, and electrical connection to ensure fully operational system. Size fans based on the following criteria: Exhaust 80 cfm per restroom (min. 2) and 70 cfm per oven (min. 2). |
| 237000 | HVAC | Units: Furnish and install high efficiency HVAC rooftop units [RTUs] completely, including curbs, structural support and associated electrical, plumbing and gas connections as required to ensure a completely functional system. Tenant approved manufacturers are Carrier and Trane. Landlord shall utilize Starbucks National HVAC Purchasing Program for unit procurement, per Tenant's Design Criteria. Locate Units in Tenant Mechanical zone per Tenant's Design Criteria. Capacity: Furnish cooling and heating capacity per tenant engineered calculations and drawings specific to the local climate zone of the site so that the space can maintain a space temp of 72F+/-1F during occupied hours, 62F (summer) and 77F(winter) during unoccupied hours and 30-60%RH. High efficiency units are required. Include Mech sheet as an attachment or schedule with climate zones for budgeting purposes only. Tenant prefers minimum two [2] zones of conditioned air distributed between Tenant's BOH and café/engine space. System shall be engineered per the current edition of ASHRAE 90.1and in compliance with local energy code (whichever is more stringent). Provide fresh air intake integrated into air handling system in accordance with the current edition of ASHRAE 62.1. For cost estimating only: [Actual units to be specified per tenant engineer’s calculations for specific site and may vary by +/- 20%]. Zoning and specific sizes for each RTU to be confirmed by engineer. • Climate Zones 1-3: 15-19 tons • Climate Zones 4-8: 13-16 tons Accessories: HVAC units shall include barometric relief and economizers. HVAC units 7.5 tons and larger with economizers shall have economizers and powered exhaust interlocked to operate with economizer. Hot gas reheat and humidity sensor may be required (based on climate zone) to maintain humidity targets. HVAC units with 2000 CFM delivery or greater shall be provided with a duct mounted smoke detector in the return or supply (based on local code) air duct with remote test switches and minimum length of 150'-0" of control cable. Cables shall be looped and left in the ceiling space, wired to units. Units serving café space shall include Demand Control Ventilation. Plumb all condensation drain lines per local code requirements. Thermostats: Landlord shall provide a minimum length of 150'-0" of low voltage thermostat cable for Tenant's future use. Cable shall be looped and left in the ceiling space, wired to units. Start-Up: HVAC Unit(s) shall be tested, operable and furnished with minimum MERV 8 filters. Coordinate initial mechanical start-up per manufacturer's recommendation and provide Tenant with documentation of start-up as needed to support Tenant's Commissioning requirements. Required commissioning documentation includes Starbucks Commissioning Photo List, and Starbucks Pre-Functional Checklist (HVAC sections only). Landlord shall provide repair & maintenance documentation including but not limited to unit specifications, operations manual, testing and balancing documentation, serial number and warranty. |
| 260923 | Electrical | Feeders: Landlord Shall furnish and install; concealed below grade, electrical feeders from utility service point to Tenant’s main panel on Premises. Standard electric service shall be 600-amp 208Y/120V, 3 phase, 4 wire. Where these electrical service characteristics cannot be met due to site conditions, adjustments shall be made to the electric gear to accommodate the differences in voltage, and/or phase and be validated by tenant engineer. Electrical Panels: Landlord shall furnish and install two electrical panels (Square D or equal) with a minimum of 66 circuit spaces each, include breakers per Tenant's construction drawings. Provide sub-feed lugs in one panel for sub-feeding the other panel. Feeder entry shall be concealed in wall through stub-ups. Locate panels in the back of house area adjacent to rear delivery door with 36” (minimum) clearance in front of panels. The tenant main panel shall be 600A main lug only panel. The tenant’s sub-panel shall be 225A (minimum) main circuit breaker panel fed by sub-feed lugs in the main panel. Sub-panel shall be capable of accepting multi-pole GFCI circuit breakers up to 50A (as required to comply with NEC 210.8). The sub-panel shall be a series rated system between the main circuit breaker and the branch breakers within the panel to allow for 10kAIC rated breakers to be utilized. Label the panel as series rated per NEC requirements. Motor load on the sub-panel shall be less than 100A. Metering: Landlord shall provide metered service and disconnect for Tenant's use only. Starbucks service shall be metered; as required by local utility company and capable of recording instantaneous kilowatts, kilowatt-hours, and peak demand. The preferred location for the meter is on the exterior of the building adjacent to the delivery door, hidden from public view, and paint to match the color of adjacent finish. Transformer: Landlord shall provide a step-down transformer when site conditions dictate an alternate service. The transformer shall be dry type with a minimum of Class 155 insulation and shall meet the Department of Energy (DOE) requirements for efficiency. Step-down transformer shall be located at rear of building, mounted on a concrete pad in an area not to conflict with Tenant's drive thru (if applicable) and shielded from customer view. If building location is multi-story and/or building is unable to support an outdoor unit, the landlord shall provide structural support and location with proper clearances in ceiling. Floor-mounted units shall only be used if ceiling installation requirements cannot be met. Floor-mounted units must be NEMA-3R rated enclosure and must be installed on a mounting pad with 2” edge. Temporary Power: If permanent electrical service is not available on the delivery date as defined in the lease, temporary service shall be provided by the Landlord. Provide service required for construction operations, with branch wiring and distribution boxes located to allow service and lighting by means of construction-type power cords. Landlord shall provide additional temporary lighting for construction operations. |
| 260929 | Site Electrical and Data Distribution | General: Furnish and install all underground electrical/data conduits, labeled with pull strings, from the electrical panels and low voltage distribution points to the following site, and drive-thru components. Refence tenant criteria set for conduit size and termination points inside building. Site Signage: One [1] 1" conduit for each dedicated monument and/or pylon sign to electrical panel in BOH (Back of House). One [1] 1" conduit for each directional sign to electrical panels in BOH. (Maximum three [3] directional signs served by a single circuit) Pre-Order Menu: One [1] 1" conduit from pre-order menu board to electrical panel. One [1] 1" conduit from pre-order board to tenants network cabinet. Menu One [1] 1" conduit for Tenant's menu board to electrical panels. One [1] 1" conduit from menu board to tenants network cabinet Digital Order Screen: One [1] 1" conduit from Digital Order Screen to electrical panels. Two [2] 1" data conduits from Digital Order Screen to the interior of the drive thru "bump" (Reference tenant criteria package for termination points). One [1] 1" conduit embed in drive thru lane for vehicle detector loop. Center conduit on Digital Order Screen. Drive Thru Window: One [1] 1" conduit embed in drive thru lane for vehicle detector loop. Center conduit on drive thru window. Other: One [1] 1" conduit for each illuminated bollard (if applicable) to electrical panels in BOH. |
| 265600 | Site Lighting | Infrastructure: Landlord shall provide exterior lighting, conduit, wiring, footings, poles, and fixtures necessary to ensure site illumination meets minimum lighting levels as required by code. The lighting design shall satisfy all local jurisdictional requirements including site specific regulations such as dark sky ordinances. Reference tenant criteria package for location and specifications for building façade and patio lighting. Parking lot lighting: Fixtures shall be type LED, 3000k - 4000k 90+ CRI, fully sealed, aluminum fixtures with shielded luminaire. Pole lighting shall be in scale with Tenant's cafe, and never taller than the building. Lighting shall be held away from the building facade, fenestration, and entry to mitigate unwanted glare. Pole lighting shall be minimal in appearance, simple, modern, and non-obtrusive. Fixtures shall be anodized aluminum, single and twin pole luminaires with asymmetrical wide-spread distribution and adjustable reflectors. Provide 10'-0" to 12'-0" height (pedestrian scale) pole lighting at sidewalks and parking areas adjacent to building. Provide 18'-0" to 22'-0" height (tall) parking lot lighting at adequate spacing to ensure security lighting for parking field. Controls: Any exterior building lighting dedicated to Tenant occupancy shall require controls within Tenant's space. |
| 273300 | Site Internet & Voice Systems | Landlord Initiated Connectivity: Telecommunication services will be ordered by Starbucks for the space leased however to provide Starbucks with point of feed exhibits and Landlord to coordinate initial installation of communication infrastructure with local telco or broadband provider, including the termination of ONT (Optical Network Termination) fiber and/or broadband node at the minimum point of entry. Landlord to provide electrical connectivity for potential LEC (Local Exchange Carrier) fiber node or broadband router as well as a backboard per local specification for service termination and demarcation point placement. Starbucks will require at least fiber or broadband services with minimum speeds of 50x10 Mbps. In exceptional situations, Starbucks might need access to mount roof antennas. Distribution: Provide [2] - 2" conduit pathways with pull strings, [1] for voice cabling, and [1] for internet cabling from LEC (Local Exchange Carrier) and cable MPOE (Minimum Point Of Entry) to Tenant's space. LEC (Local Exchange Carrier) and cable MPOE (Minimum Point Of Entry) may not be co-located. Terminate conduit in Tenant's space at the ceiling above the manager's workstation in the back of house, or as otherwise designated by Tenant. Service Entry: Landlord shall provide minimum 4" conduit for service entrance, or size per requirements of local service provider. Provide labeled, end-to-end pull strings in all conduits for future use. Remote Spaces: If Tenant's café space is located in multiple spaces, (e.g. kiosk with remote office and/or café with remote storage), Landlord will provide (2) separate 2” conduit paths to allow voice and internet connectivity between detached spaces. |
| 284600 | Fire Alarm | Base System: If required by applicable code; Landlord shall obtain permits, furnish, and install building monitoring and fire protection system. System shall include audible alarms, visual strobes, duct smoke and heat detectors and actuators as required per applicable codes. Monitoring: In rare circumstances, the fire alarm system may require a dedicated voice service to be supplied to enable the alarm. In the event a wireless dialer or radio communicator will not be included in the fire alarm solution, the Landlord shall notify Starbucks to order the required service. Installation: Landlord shall be responsible for installation of all conduits, boxes, and operable components of alarm system. Phased installation of alarm system (if applicable) shall be coordinated with Tenant’s construction schedule. Landlord shall manage commissioning and inspection of alarm system prior to Tenant occupancy. Modifications: Modification to base building design, as required to coordinate with Tenant’s build-out, shall be performed by Landlord and finalized prior to owner’s occupancy. |
| 481000 | Solar | Intentionally Omitted. |

Landlord: ________________________________________     Tenant: _________________________________________

Print Name: ______________________________________ 	  Print Name: _____________________________________

Title: ____________________________________________ 	  Title: ____________________________________________

Date: ____________________________________________ 	  Date: ____________________________________________

Revision Log

| Date | Updates | Issuer |
| --- | --- | --- |
| 11/7/25 | Original Version | S.K. |